# 1. Appendix: Thermodynamic Correction of PCO2 Extractions

## 1.1 A.1. Intrinsic Ionic Strength of the PCO2 Extractant

Standard static soil test methods rely on the operational extraction of phosphorus. Strong extractants (e.g., Olsen P, P-AAE10) possess inherently high ionic strengths that dominate the soil matrix, rendering absolute thermodynamic comparisons invalid without complex modeling. In contrast, the PCO2 method utilizes a very weak extractant: water saturated with carbon dioxide at atmospheric pressure (1 atm) and 25 °C.

To demonstrate that the PCO2 extractant adopts the native ionic strength of the soil, we calculate the intrinsic ionic strength (I) of the pure extractant.

According to Henry’s Law, the concentration of dissolved CO2 (denoted as H2CO3*) is:

[H2CO3*]=KH×PCO2

Given Henry’s constant (KH≈0.034 M atm−1) and PCO2=1 atm, the molarity of dissolved CO2 is approximately 0.034 M.

The primary ionic species generated arise from the first dissociation of carbonic acid:

H2CO3*⇌H++HCO3−

Using the acid dissociation constant (Ka1=4.46×10−7 at 25 °C):

Ka1=[H+][HCO3−][H2CO3*]

Because [H+]≈[HCO3−], we can solve for the bicarbonate concentration:

[HCO3−]=4.46×10−7×0.034≈1.23×10−4 M

The intrinsic ionic strength (I) of the extractant is defined as:

I=12∑(Cizi2)

I=12(1.23×10−4×(+1)2)+(1.23×10−4×(−1)2)≈0.00012 M

This intrinsic ionic strength (≈0.12 mM) is infinitesimally small compared to native agricultural soil solutions (which typically range from 10 to 50 mM). Therefore, the final ionic strength of the PCO2 extract is overwhelmingly dictated by the dissolved soluble salts of the specific soil being analyzed.

## 1.2 A.2. Justification for the Davies Equation

Because the PCO2 extract adopts the native ionic composition of the soil, reading the orthophosphate concentrations against an I=0 (distilled water) calibration curve introduces systematic error. The true thermodynamic driving force for P-availability is the chemical activity, not the stoichiometric concentration.

To correct for this, an activity coefficient (γ) must be applied. While the Pitzer equations are the gold standard for high-ionic-strength solutions (I>0.5 M, such as the P-AAE10 extractant), the ionic strength of native agricultural soil solutions is typically much lower (I<0.1 M).

In this low-to-moderate ionic strength regime, the Davies equation (an empirical extension of the Debye-Hückel theory) is highly accurate and does not require complex, ion-specific interaction parameters.

The Davies equation calculates the activity coefficient (γ) as follows:

log10(γ)=−Az2I1+I−0.3I

Where: * A is a temperature-dependent constant (≈0.509 L0.5mol−0.5 for water at 25 °C). * z is the charge of the ion in question (for orthophosphate, z depends on pH, predominantly −1 for H2PO4− and −2 for HPO42−). * I is the total ionic strength of the extracted solution, calculated from the measured concentrations of major cations (Ca2+,Mg2+,K+).

## 1.3 A.3. Implementation of Thermodynamic Correction

To assess the theoretical P-Intensity (I) and formulate the Phosphorus Buffering Capacity (PBC), the operationally defined PCO2 concentrations are converted to thermodynamic activities using the following sequential steps:

- Determine Total Ionic Strength (I): Using the measured cation concentrations from the extracts.

I=12[K+]+4[Ca2+]+4[Mg2+]+…

- Calculate the Activity Coefficient (γ): Applying the Davies equation based on the sample’s specific I.

- Compute Chemical Activity:

Activity(P)=[PCO2]×γ

By standardizing the measurements to their true thermodynamic activity, we remove the analytical bias introduced by varying soil salinity and pedoclimatic history, allowing for an absolute comparison of P-Intensity across all STYCS experimental sites. ## A.4 Supplementary Materials and Reproducibility

This Master’s thesis was produced using a fully reproducible workflow with the Quarto publishing system. All data, R scripts, and analytical notebooks used to generate the figures, tables, and results presented in this work are openly available.

The complete project can be cloned from the author’s GitHub repository, which contains the raw data, the R code for the kinetic and statistical models, and the Quarto source files.

GitHub Repository URL: [https://github.com/ptochosgeorgos/Article-P-desorption-kinetics]

A rendered version of the full project, including the analytical notebooks that document the development process, is also available as a GitHub Pages website at the following URL:

GitHub Pages Site URL: [https://ptochosgeorgos.github.io/Article-P-desorption-kinetics/]

This approach ensures full transparency and allows for the complete replication of the findings presented in this thesis.